## Slide 1
EI Fragment Exact-Mass Calculator
Algorithms, Filters & Fragmentation Rules
6 Post-Filters
Branch-and-Bound Enum.
EI Fragmentation Rules
Reference Implementation — Python / Open Source

## Slide 2
Processing Pipeline Overview
2/16
EI Fragment Exact-Mass Calculator | Python / Open Source
1
Parse SDF Input
Read molecular formula + EI mass spectrum peaks from SDF file
2
Electron-Mass Correction
Convert measured m/z to neutral mass target (EI+/EI−/none)
3
Branch-and-Bound Enumeration
Generate all valid candidate elemental compositions (heaviest-first pruning)
4
Filter Pipeline (Filters 1–6)
Reject chemically implausible candidates (nitrogen rule, DBE, valence…)
5
Fragmentation Rule Annotation
Label candidates with known EI pathways — Tier 1 (neutral loss) & Tier 2 (structure)
6
Ranking
Sort by filter pass status → mass accuracy → isotope score
7
Output
Annotated text report + enriched SDF file with all candidate formulas

## Slide 3
Step 1 — Electron-Mass Correction
3/16
EI Fragment Exact-Mass Calculator | Python / Open Source
Ionisation & Correction
M + e⁻(fast) → M⁺• + 2e⁻
Detector measures the ion, not the neutral:
EI+: m/z = Mₙₑᵤₜʳʳʳ − mₑ
EI−: m/z = Mₙₑᵤₜʳʳʳ + mₑ
None: m/z = Mₙₑᵤₜʳʳʳ
mₑ = 0.000548580 Da
Target neutral mass (EI+):
target = nominal_mz + mₑ
Ref: IUPAC 2016 atomic masses; Gross (2017)
Example: Caffeine [M]⁺•
Formula: C₈H₁₀N₄O₂
Nominal m/z: 194
Target = 194 + 0.000549 = 194.000549 Da
Actual mass = 194.079602 Da
|194.0796 − 194.0006| = 0.079 Da
→ within ±0.5 Da window ✓
Mode | CLI Flag | Correction
EI+ (default) | --electron remove | − mₑ
EI− | --electron add | + mₑ
None | --electron none | 0

## Slide 4
Step 2 — Branch-and-Bound Formula Enumeration
4/16
EI Fragment Exact-Mass Calculator | Python / Open Source
Goal
Find all elemental compositions CᵃHᵇNᶜ Oᵈ … whose ion mass is within ±tolerance of the observed m/z, subject to atom-conservation (fragment ≤ parent counts per element).
Performance vs. Cartesian Product:
Cartesian product: ~3,000 tested
Branch-and-bound: ~12 valid found
Speedup: ~250× for m/z 194 example
Algorithm: _enumerate_pruned()
1. Sort elements heaviest-first (Cl > S > O > N > C > H)
2. Precompute max_tail[i] = max mass from index i onward
3. Per level: lo = ⌈(target−tol−partial−max_tail[i+1]) / mass[i]⌉
hi = ⌊(target+tol−partial) / mass[i]⌋
4. Prune entire subtrees where lo > hi
Tolerance Modes
Mode | Formula | Use Case
Fixed Da | ±0.5 Da | Unit-mass EI (quadrupole)
ppm | mz × ppm / 10⁶ | Orbitrap / QTOF
Pruning Tree (schematic)
Cl (heaviest): lo=0, hi=1 [2 branches]
├ Cl=0: reachable → explore ✓
└ Cl=1: mass > target+tol → PRUNE ✗
S: lo=0, hi=2 [3 branches] → recurse
O, N, C … continue until leaf
Leaf: emit valid formula tuple ✓
Ref: Land A.H. & Doig A.G. Econometrica 28(3):497–520 (1960) DOI:10.2307/1910129

## Slide 5
DBE — Degree of Unsaturation (Rings + Double Bonds)
5/16
EI Fragment Exact-Mass Calculator | Python / Open Source
DBE = 1 + Σᵢ countᵢ × (valenceᵢ − 2) / 2
Valid: DBE ≥ 0 and DBE × 2 ∈ ℤ | Half-integer = odd-electron ion (M⁺•) | Integer = even-electron ion
DBE = 0
Saturated
Alkane, no rings
DBE = 1
One ring or C=O
Cyclohexane / ketone
DBE = 4
Benzene ring
C₆H₆ (3 C=C + 1 ring)
DBE = 0.5
Odd-electron
EI radical cation M⁺•
Formula | Compound | DBE Calculation | DBE
C₈H₁₀N₄O₂ | Caffeine | 1 + 8(1) + 10(−½) + 4(½) + 2(−½×2+2×0) | 6.0
C₆H₆ | Benzene | 1 + 6(1) + 6(−½) | 4.0
C₃H₇Cl | Propyl chloride | 1 + 3(1) + 7(−½) + 1(−½) | 0.0
Ref: Pretsch E. et al. Structure Determination of Organic Compounds, 4th ed. (2009) DOI:10.1007/978-3-540-93810-1

## Slide 6
Filter 1 — Nitrogen Rule
6/16
EI Fragment Exact-Mass Calculator | Python / Open Source
Rule (McLafferty & Turecek 1993)
For EVEN-electron ions (integer DBE):
odd m/z ↔ odd nitrogen count
even m/z ↔ even nitrogen count
For ODD-electron ions (half-integer DBE):
rule is INVERTED
Implementation:
n_count = N + P atom counts
even_electron = (DBE × 2) is even
if even_e: passed = (mz_odd == n_odd)
if odd_e: passed = (mz_odd != n_odd)
Examples
m/z 194
C₈H₁₀N₄O₂
EE, N=4 even
PASS
m/z 149
C₈H₉O₂
EE, N=0 even
FAIL
m/z 77
C₆H₅
OE (inverted)
PASS
CLI: --no-nitrogen-rule to disable | P (phosphorus) also counted as nitrogen-equivalent for the parity check.
Ref: McLafferty F.W. & Turecek F. Interpretation of Mass Spectra, 4th ed. (1993) DOI:10.1002/jms.1190080509

## Slide 7
Filter 2 — Hydrogen Deficiency (DBE/C Ratio)
7/16
EI Fragment Exact-Mass Calculator | Python / Open Source
Rule: Reject if DBE / C_count > max_ring_ratio (default 0.5, set via --max-ring-ratio)
Rationale: for typical organic EI fragments, DBE rarely exceeds half the carbon count. A ratio > 0.5 implies an extraordinarily hydrogen-poor structure unlikely to survive as a stable EI fragment.
C₈H₁₀N₄O₂
Caffeine
DBE=6 C=8 ratio=0.75
FAIL*
C₇H₇⁺
Tropylium m/z 91
DBE=5 C=7 ratio=0.71
FAIL*
C₆H₁₂
Cyclohexane
DBE=1 C=6 ratio=0.17
PASS
C₆H₆
Benzene m/z 78
DBE=4 C=6 ratio=0.67
FAIL*
* With default ratio=0.5. Highly aromatic fragments need --max-ring-ratio 0.7+. CLI: --no-hd-check to disable.
Configurable: --max-ring-ratio RATIO (default 0.5) | CLI: --no-hd-check to disable
Ref: Pretsch E. et al. Structure Determination of Organic Compounds, 4th ed. (2009) DOI:10.1007/978-3-540-93810-1

## Slide 8
Filter 3 — Lewis & Senior Valence Rules
8/16
EI Fragment Exact-Mass Calculator | Python / Open Source
Rule 1 — Valence Parity
Σ (valenceᵢ × countᵢ) must be EVEN
Every covalent bond uses 2 valence electrons. An odd total means no valid molecular graph can be constructed — the structure cannot exist.
Rule 2 — Connectivity Minimum
Σ (valenceᵢ × countᵢ) ≥ 2 × (atom_count − 1)
A connected graph of N nodes requires at least N−1 edges. Below this minimum, the atoms cannot form a single connected molecule.
Valence Table
H | C | N | O | F | Cl | Br | S | P | Si
1 | 4 | 3 | 2 | 1 | 1 | 1 | 2 | 3 | 4
Examples
CH₄O (methanol)
Σval=10 (even) ≥ 8
PASS
CH₃• (radical)
Σval=7 (odd)
FAIL R1
C₂H₂ (acetylene)
Σval=10 ≥ 4
PASS
CLI: --no-lewis-senior to disable | Ref: Senior J.K. Am. J. Math. 73(3):663–689 (1951) DOI:10.2307/2372318

## Slide 9
Filter 4 — Isotope Pattern Matching
9/16
EI Fragment Exact-Mass Calculator | Python / Open Source
Score = Σ |theoretical % − observed %| for M+1 and M+2 Lower = better. Threshold: 30 pp (--isotope-tolerance)
Key Isotope Contributors
Isotope | Abundance | Peak | Element
¹³C | 1.109% | M+1 | per C
¹⁵N | 0.369% | M+1 | per N
²H | 0.015% | M+1 | per H
³⁴S | 4.250% | M+2 | per S
³⁷Cl | 32.50% | M+2 | per Cl
⁸¹Br | 97.30% | M+2 | per Br
Examples
C₆H₅Cl (chlorobenzene, M=112):
Theo M+2 = 32.5% (³⁷Cl)
Obs M+2 = 5% → score = 27.5 pp
→ Borderline PASS (< 30 pp)
C₈H₁₀N₄O₂ (caffeine, M=194):
Theo M+1 ≈ 9.4% (8 × 1.1%)
Obs M+1 ≈ 10% → score = 0.6 pp
→ Excellent PASS
CLI: --no-isotope-score to disable | --isotope-tolerance PP | Ref: Gross J.H. Mass Spectrometry: A Textbook, 3rd ed. (2017) DOI:10.1007/978-3-319-54398-7

## Slide 10
Filter 5 — Structural / SMILES Ring Constraints
10/16
EI Fragment Exact-Mass Calculator | Python / Open Source
Rule: Reject fragment if DBE_fragment > parent_ring_count × 2 + 1
A fragment cannot have more rings than the parent. Ring count from V2000 MOL block: rings = bonds − atoms + 1 (cyclomatic number).
Data Source — MOL Block Parser
parse_mol_block_full() extracts:
• Atom table (element, formal charge)
• Bond table (a1, a2, bond type)
• Adjacency graph
• ring_count = |bonds| − |atoms| + 1
If no MOL block → filter skipped
Examples
Cyclohexane (rings=1)
DBE=2 ≤ 3
PASS
Cyclohexane (rings=1)
DBE=3 > 3
FAIL
Cholesterol (rings=4)
DBE=8 ≤ 9
PASS
Cholesterol (rings=4)
DBE=9 > 9
FAIL
CLI: --no-smiles-constraints to disable | Ref: Weininger D. J. Chem. Inf. Comput. Sci. 28(1):31–36 (1988) DOI:10.1021/ci00057a005

## Slide 11
Filter 6 — RDKit Chemical Validation (Optional, default OFF)
11/16
EI Fragment Exact-Mass Calculator | Python / Open Source
Purpose: Validate element symbols against the RDKit periodic table. Catches impossible symbols (‘Xx’, ‘R’, ‘D’) that slip through earlier filters due to data entry errors.
Implementation
from rdkit import Chem
pt = Chem.GetPeriodicTable()
atomic_num = pt.GetAtomicNumber(symbol)
if atomic_num == 0: → FAIL
Graceful degradation:
If rdkit-pypi not installed, filter is
silently skipped (returns True).
Install: pip install rdkit-pypi
Examples
C₈H₁₀N₄O₂
All known
PASS
C₆H₅Xx
'Xx' unknown
FAIL
C₃H₇D
'D' not std
FAIL
C₁₂H₂₂O₁₁
Sucrose — OK
PASS
Default: OFF. Enable with --rdkit. Off by default to avoid requiring an optional heavy dependency on non-chem installs.
Ref: RDKit Open-source cheminformatics. https://www.rdkit.org

## Slide 12
Fragmentation Rules — Tier 1: Neutral Losses
12/16
EI Fragment Exact-Mass Calculator | Python / Open Source
Formula-based — works for any record, no 2-D structure needed. For each of 30+ tabulated losses: (1) parent contains all atoms, (2) fragment ion mass within tolerance.
Loss | Mass (Da) | Origin
H₂O | 18.010565 | Alcohols, carboxylic acids, sugars
CO | 27.994915 | Carbonyl groups, aromatic C=O
CO₂ | 43.989829 | Carboxylic acids, esters
NH₃ | 17.026549 | Amines, amides
HCl | 35.976678 | Organochlorines — pesticides
HBr | 79.926160 | Organobromines
HCN | 27.010899 | Aromatic N, nitriles
CH₃• | 15.023475 | Alpha-cleavage, methyl esters
CCl₃• | 116.907378 | DDT-type chloroalkanes
OPCl | 98.936978 | Chlorophosphate pesticides
Si(CH₃)₃ (TMS) | 73.046928 | GC-MS silyl derivatives
SO₂ | 63.961901 | Sulfones, sulfoxides
Example
Caffeine
C₈H₁₀N₄O₂
M⁺• = 194 Da
m/z 166:
194.080
− 27.995 (CO)
= 166.085 Da
Matched:
[M−CO]⁺
C₇H₈N₄O
CLI: --fragmentation-rules | Ref: McLafferty & Turecek (1993); Gross (2017); Budzikiewicz & Grigsby J. Am. Soc. Mass Spectrom. 17:1161 (2006)

## Slide 13
Fragmentation Rules — Tier 2: Structure-Based Cleavages
13/16
EI Fragment Exact-Mass Calculator | Python / Open Source
Requires: parsed V2000 MOL block. Uses BFS connected-component analysis after virtual bond cleavage to enumerate fragment compositions.
1. Homolytic Cleavage (σ-bond)
Break every non-aromatic, non-ring single bond. Both fragments carry one radical electron.
CH₃−CH₂−OH → CH₃• + •CH₂OH
2. Alpha (α) Cleavage
For each heteroatom (N, O, S, halogen): break adjacent C−C bond. Charge stays on heteroatom fragment.
R−CO−CH₂R' → [R−C≡O]⁺ + •CH₂R' (acylium)
3. Inductive (i) Cleavage
β-Bond cleavage directed by heteroatom induction. Charge migrates away from the heteroatom.
R−X → R⁺ + X•
4. McLafferty Rearrangement
Requires C=O + α + β + γ-H pattern. H migrates from γ-C to O; α−β bond cleaves → enol ion.
Methyl pentanoate → [CH₂=CHOH]⁺ (m/z 60) + propene
CLI: --fragmentation-rules to enable (OFF by default). Ref: McLafferty & Turecek (1993); Gross (2017) Ch. 6; Budzikiewicz & Grigsby (2006)

## Slide 14
Candidate Ranking — Best-First Ordering
14/16
EI Fragment Exact-Mass Calculator | Python / Open Source
1
Filter Pass Status
filter_passed = True
ranked before
filter_passed = False
Chemically valid structures always shown first.
2
Mass Accuracy
|delta_mass| = |ion_mass − nominal_mz|
Smallest absolute deviation wins. Closest mass match gets priority.
3
Isotope Score
score = Σ |theo% − obs%|
for M+1 and M+2
Lower score = better isotope pattern agreement.
--best-only Mode
Keep only the top-ranked candidate per peak. Peaks where the best candidate still fails all filters are silently dropped from output.
Output example:
C₈H₁₀N₄O₂ 194.0796 Da Δ=+0.079 DBE=6.0 OK [M−CO]

## Slide 15
Tolerance Modes — Fixed Da vs. Parts Per Million (ppm)
15/16
EI Fragment Exact-Mass Calculator | Python / Open Source
Fixed Da Mode (default)
tol = constant Da (e.g. ±0.5 Da)
CLI: --tolerance 0.5
Same absolute window at every m/z.
Simple, conservative, forgiving.
Best for:
Unit-mass EI instruments
(quadrupole, ion trap)
ppm Mode (high-resolution)
tol = mz × ppm / 1,000,000
CLI: --ppm 5
Per-peak window scales with m/z.
Tighter and more selective.
Best for:
High-resolution EI instruments
(Orbitrap, QTOF)
m/z | ±0.5 Da window | ±5 ppm window | ppm is tighter by
50 | ±0.500 Da | ±0.000250 Da | 2,000×
100 | ±0.500 Da | ±0.000500 Da | 1,000×
200 | ±0.500 Da | ±0.001000 Da | 500×
500 | ±0.500 Da | ±0.002500 Da | 200×
--ppm and --tolerance are mutually exclusive flags. Default is ±0.5 Da if neither is specified.

## Slide 16
Summary — Filters & Algorithms at a Glance
Algorithm / Filter | Active by Default | CLI Flag
Electron-mass correction | Always | --electron none
Branch-and-bound enumeration | Always | —
DBE validity (≥0, ×0.5) | Always | —
Filter 1: Nitrogen Rule | ON | --no-nitrogen-rule
Filter 2: H-Deficiency (DBE/C) | ON | --no-hd-check
Filter 3: Lewis & Senior Valence | ON | --no-lewis-senior
Filter 4: Isotope Pattern Score | ON | --no-isotope-score
Filter 5: SMILES / Ring Constraints | ON | --no-smiles-constraints
Filter 6: RDKit Validation | OFF | --rdkit
Fragmentation Rules (Tier 1+2) | OFF | --fragmentation-rules
ppm tolerance mode | OFF | --ppm N
Key References: McLafferty & Turecek (1993) · Pretsch et al. (2009) DOI:10.1007/978-3-540-93810-1 · Senior (1951) DOI:10.2307/2372318 · Gross (2017) DOI:10.1007/978-3-319-54398-7 · Weininger (1988) DOI:10.1021/ci00057a005 · Budzikiewicz & Grigsby J. Am. Soc. Mass Spectrom. 17:1161 (2006) · Land & Doig (1960) DOI:10.2307/1910129 · RDKit: rdkit.org
EI Fragment Exact-Mass Calculator | Python / Open Source | 16/16